Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571.3284

donna.l.george@xcelenergy.com

October 10, 2022

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:	Justin Montgomery

Re:  	AMLI Littleton Village II, Case # MDP22-0005 and APL22-0007

Public Service Company of Colorado’s (PSCo) Right of Way and Permits Referral Desk has reviewed the plat and plans for AMLI Littleton Village II. As always, thank you for the opportunity to take part in the review process. To ensure that adequate utility easements are available within this development and per state statute §31-23-214 (3), PSCo requests 10-foot-wide dry utility easements abutting the west and south property lines.

PSCo also requests that the following language or plat note is placed on the preliminary and final plats for the subdivision:

Utility easements are dedicated to the City of Littleton for the benefit of the applicable utility providers for the installation, maintenance, and replacement of electric, gas, television, cable, and telecommunications facilities (Dry Utilities). Permanent structures, improvements, objects, buildings, wells, and other objects that may interfere with the utility facilities or use thereof (Interfering Objects) shall not be permitted within said utility easements and the utility providers, as grantees, may remove any Interfering Objects at no cost to such grantees, including, without limitation, vegetation. Public Service Company of Colorado (PSCo) and its successors reserve the right to require additional easements and to require the property owner to grant PSCo an easement on its standard form.

PSCo requests that all utility easements are depicted graphically on the preliminary and final plats. While these easements may accommodate certain utilities to be installed in the subdivision, some additional easements may be required as planning and building progresses.

PSCo acknowledges that the 10-foot-wide dry utility easement on the east side of the property is being relinquished and has no conflict.

Please be aware PSCo has existing natural gas distribution facilities along East Fremont Place including a gas regulator station, and underground electric distribution facilities along Fremont including a transformer. The property owner/developer/contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

If additional easements need to be acquired by separate PSCo document, a Right-of-Way Agent will need to be contacted.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com