Southwest Metropolitan

Water and Sanitation District	www.swmetrowater.org 8739 W. Coal Mine Ave.  •  Littleton, Colorado   80123  •  {303) 979-2333  •  Fax (720) 726-5042

December 21, 2021

Justin Montgomery jmontgomery@littletongov.org

Planning Services

City of Littleton Community Development

2255 W. Berry Ave.

Littleton, CO 80120

Re: Toll Brothers – Santa Fe Park Subdivision Filing No. 1 Replat A (Parcel F)

Case #s SDP21-0009 and MIN21-0009 (Santa Fe Park Apartments)

Dear Mr. Montgomery,

Thank you for providing Southwest Metropolitan Water and Sanitation District (SWM) the opportunity to comment on the proposed Santa Fe Park South development. District staff has reviewed both the proposed Minor Sub Plat and Site Development plan and provides the following comments:

Application and Agreement:

The process of plan submittal and review begins with the application and agreement which is a contract between the District and the owner that sets forth the terms and conditions pursuant to which such sewer and water main will be conditionally accepted by the District and allowed to connect to the Districts public water and sanitary systems.

Water Plans:

Water plans shall be submitted to Southwest Metropolitan Water and Sanitation District, upon payment of fees (District and Denver Water), jointly, the District Staff, District Engineer and Denver Water will review plans and provide comments until the plan is approved. The District follows the Denver Water Engineering Standards for water design and details including Denver Water Cad Standards.

Sewer Plans:

Upon payment of fees the sewer plans shall be submitted to Southwest Metropolitan Water and Sanitation District. Jointly the District Staff and District engineer will review plans and provide comments until the plan is approved. Please follow the SWM Sewer Specification for sewer design.

Easements:

When sewer or water mains are planned to be installed within a dedicated public street right-of-way, a copy of the recorded play must be submitted showing such public use dedication. When mains are to be installed in future right-of-way, plans will not be approved until the plat is recorded. Platted private roadway tracts will require an easement. The easement must follow the radius of the curbs in the roadway for delineation. No more than 4% cross slope is allowed.

Easements are granted to the District and must be recorded prior to final plat recording and be included on the final plat.

Tap Permits:

Sewer and water tap permits will be issued at conditional acceptance according to the terms outlined in the Application and Agreement.

Please do not hesitate to call if you have any questions,

Regards,

{SWM 00024515.1}