Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303.571.3284

Donna.L.George@xcelenergy.com

May 19, 2023

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:  	Zareen Tasneem

Re:  	Powers Place, Case #s SIP23-0003 and APL23-0003

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the site plan and associated administrative plat for Powers Place. Please be aware PSCo owns and operates existing overhead electric distribution facilities along the south and east property lines, and natural gas distribution facilities along South Bannock Street. If the property owner/developer/contractor has not already completed the application process for any new natural gas or electric service or modification to existing facilities, they must do so via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements will need to be acquired by separate document for new facilities (i.e. transformers, etc.) – be sure to contact the Designer and request that they connect with a Right-of-Way Agent.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  Donna.L.George@xcelenergy.com