Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303.571.3284

Donna.L.George@xcelenergy.com

July 1, 2024

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:	Jerad Chipman

Re:  	Powers Place Subdivision, Case # MAJ24-0002

Public Service Company of Colorado’s (PSCo) Right of Way and Permits Referral Desk has reviewed the final plat for Powers Place Subdivision. To ensure that adequate utility easements are available within this development and per state statute §31-23-214 (3), PSCo requests that the following language or plat note is placed on the preliminary and final plats for the subdivision:

Ten-foot (10’) wide dry utility easements are hereby granted around the perimeter of platted areas including lots, tracts, parcels and/or open space areas. These easements are dedicated to the City of Littleton for the benefit of the applicable utility providers for the installation, maintenance, and replacement of electric, gas, television, cable, and telecommunications facilities (Dry Utilities). Utility easements shall also be granted within any access easements and private streets in the subdivision. Permanent structures, improvements, objects, buildings, wells, water meters and other objects that may interfere with the utility facilities or use thereof (Interfering Objects) shall not be permitted within said utility easements and the utility providers, as grantees, may remove any Interfering Objects at no cost to such grantees, including, without limitation, vegetation. Public Service Company of Colorado (PSCo) and its successors reserve the right to require additional easements and to require the property owner to grant PSCo an easement on its standard form.

Public Service Company also requests that all utility easements are depicted graphically on the preliminary and final plats. While these easements may accommodate certain utilities to be installed in the subdivision, some additional easements may be required as planning and building progresses.

Please also note that the above is being requested now as it was left out on previous referrals based upon erroneous information.

Upon recordation of the final version of the plat, PSCo requests that a copy is provided via email: ReferralsXcelDistribution@xcelenergy.com.

Please be aware PSCo owns and operates existing overhead electric distribution facilities along the south and east property lines, and natural gas distribution facilities within West Powers Avenue and South Bannock Street. The property owner/developer/contractor must complete the application process for any new natural gas or electric service, or modification to any of the existing facilities via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements will need to be acquired by separate document for new facilities (i.e. transformer/s) – be sure to have the Designer contact a Right-of-Way Agent.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  Donna.L.George@xcelenergy.com