Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

January 8, 2019

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO  80120

Attn:  	Andrew Rogge

Re:  	Angelo’s Taverna and Winery, Case # SDP18-0012

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the site development plans for Angelo’s Taverna and Winery. Please be aware PSCo owns and operates existing electric distribution facilities including transformers within the easterly area of the property. The property owner/developer/ contractor must complete the application process for any new gas or electric service, or modification to existing facilities via FastApp-Fax-Email-USPS (go to:

https://www.xcelenergy.com/start,_stop,_transfer/new_construction_service_activation_for_builders). It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

The property owner/developer/contractor must contact Robyn McClung, Right-of-Way Agent at 303-716-2043 in order to process any quitclaim deeds, as well as acquisition of any additional easements by separate document.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center at 1-800-922-1987 to have all utilities located prior to any construction.

If there are any questions about this referral response, please contact me at (303) 571-3306 or donna.l.george@xcelenergy.com.

Donna George

Right of Way and Permits

Public Service Company of Colorado