Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

October 21, 2020

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO  80120

Attn:	Elizabeth Kay Marchetti

Re:  	Santa Fe Park South, Case #s SDP20-0007 and MAJ20-0001

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the plans for Santa Fe Park South and has concerns. Please label the easement types and widths on the plat. As a reminder, the minimum for natural gas distribution on the drive-side of the lots is 6-feet wide, and 8-feet wide for electric distribution facilities. These easements appear insufficient in some areas of the “cluster” or alley-loaded lots.

Please be aware PSCo owns and operates existing natural gas and electric distribution facilities within the proposed project area. If the property owner/developer/contractor has already completed the application process for any new natural gas or electric service or modification to existing facilities (via xcelenergy.com/InstallAndConnect), they must continue to work with the Designer assigned to the project for approval of design details. Additional easements may need to be acquired by separate document for new facilities.

The property owner/developer/contractor must also continue working with our Siting and Land Rights department on an encroachment permit application pertaining to the existing electric transmission lines on the northwest side of the property. Please note that contact may be made via  website www.xcelenergy.com/rightofway or email coloradorightofway@xcelenergy.com.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center by dialing 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com