Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571. 3284

donna.l.george@xcelenergy.com

December 7, 2021

City of Littleton Community Development

2255 West Berry Avenue

Littleton, CO 80120

Attn:  	Justin Montgomery

Re:  	Santa Fe Park Subdivision Filing No. 1 Replat A

Case #s SDP21-0009 and MIN21-0009

Public Service Company of Colorado’s (PSCo) Right of Way & Permits Referral Desk has reviewed the site plan and minor plat for Santa Fe Park. Please be aware PSCo owns and operates existing both overhead and underground electric distribution facilities within several areas of the subject property. The property owner/developer/ contractor must complete the application process as soon as possible for any new natural gas or electric service, or modification to existing facilities including relocation and or removal via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements will need to be acquired by separate document for new facilities (i.e. transformers) – be sure to contact the Designer and request that they connect with a Right-of-Way Agent.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center by dialing 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  donna.l.george@xcelenergy.com